SAMPLE LOCKOUT/TAGOUT PROCEDURE

# The following simple lockout procedure is provided to assist employers in  developing

their procedures so they meet the requirements of OSHA standard 1910.147. When the

energy isolating devices are not lockable, tagout may be used, provided  the  employer

complies  with  the  provisions  of  the  standard which require additional  training and

more  rigorous  periodic  inspections.  When  tagout  is  used  and the energy  isolating

devices  are  lockable,  the  employer  must  provide  full  employee  protection  that is

specified in paragraph (c)(3) of the standard and additional training and more  rigorous

periodic inspections are required.  For  more  complex  systems,  more  comprehensive

procedures may need to be developed, documented and utilized.

Lockout/Tagout procedure for (name of company)  ___________________________

at  (location)___________________ for (machine/type of machines) _____________

This  procedure  establishes  the  minimum  requirements  for  the  lockout  of  energy

isolating  devices  whenever  maintenance  or  servicing   is   done   on   machines   or

equipment. It shall be used to ensure that the machine or equipment   is   stopped  and

isolated  from  all   potentially   hazardous  energy   sources  and   locked   out  before

employees perform any servicing or maintenance where the  unexpected  energization

or start-up of the machine or equipment or release of stored energy could cause injury.

Compliance with this procedure

All employees are required to comply with  the  restrictions and  limitations  imposed

upon  them during  the  use  of  lockout.   The  authorized  employees are  required  to

perform the lockout in accordance with  this procedure.  All  employees,  upon seeing

a machine or piece of equipment which is locked out to  perform servicing  or mainte-

nance shall not attempt  to start, energize, or use that  machine  or  equipment.  (Insert

type of disciplinary action to be taken for violation of the above.) _______________

____________________________________________________________________ .

Sequence of lockout

- Notify all affected employees that  servicing  or  maintenance is  required  on  a

machine or equipment and that the machine or equipment must be  shut  down  and

locked out to perform the servicing or maintenance.

NAMES/                   NAMES/           METHOD OF

JOB TITLES OF      JOB TITLES OF    NOTIFYING       SPECIFIC OR TYPE

AUTHORIZED          AFFECTED          AFFECTED                MACHINE/

_EMPLOYEES     __EMPLOYEES_    EMPLOYEES     ____EQUIPMENT___

_____________    _______________    ____________    ___________________

_____________    _______________    ____________    ___________________

_____________    _______________    ____________    ___________________

_____________    _______________    ____________    ___________________
_____________    _______________    ____________    ___________________

- The authorized employee shall refer to the company procedure to identify  the

type and  magnitude  of  the  energy that the machine  or equipment utilizes,  and                 shall  understand  the hazards of the energy and know  how to control the energy.

SPECIFIC OR TYPE     TYPE        MAGNITUDE                             METHOD

MACHINE/            ENERGY      OF ENERGY   HAZARDS    OF ENERGY

EQUIPMENT_     UTILIZED         USED___    INVOLVED      CONTROL

_______________    __________   ___________   ___________     __________

_______________    __________   ___________   ___________     __________

_______________    __________   ___________   ___________     __________

_______________    __________   ___________   ___________     __________

_______________    __________   ___________   ___________     __________

- If the machine or equipment is operating, shut it down by the normal stopping

procedure (depress the stop button, open switch,  close valve, etc.).

SPECIFIC OR TYPE        TYPE OF MACHINE/

MACHINE/                      EQUIPMENT             LOCATION OF MACHINE/

EQUIPMENT____      __CONTROLS___        _EQUIPMENT CONTROLS_

__________________     ________________        _________________________

__________________     ________________        _________________________ 
__________________      ________________       _________________________

__________________      ________________       _________________________

__________________      ________________       _________________________

- De-activate the energy isolating device(s)  so that  the machine or equipment is

isolated from the energy source.

SPECIFIC OR TYPE                                                 LOCATION/IDENTITY

MACHINE/                TYPE OF ENERGY                OF ENERGY

EQUIPMENT___        ISOLATING DEVICE     _ISOLATING__DEVICE__

_________________       __________________      _______________________

_________________       __________________      _______________________

_________________       __________________      _______________________

_________________       __________________      _______________________

_________________       __________________      _______________________

(5) Lock out the  energy  isolating   device(s)  with assigned individual locks.

(6)Stored or residual energy  (such as that in capacitors, springs, elevated  machine

members,  rotating  flywheels,  hydraulic  systems,  and  air,  gas,  steam,  or water

pressure,  etc.)  must  be  dissipated  or  restrained  by methods such  as  grounding,

repositioning, blocking, bleeding down, etc.

SPECIFIC OR TYPE                   TYPE OF                      METHODS  TO

MACHINE/EQUIPMENT   STORED_ENERGY    DISSIPATE OR RESTRAIN

_____________________    _________________    ________________________

_____________________    _________________    ________________________

_____________________    _________________    ________________________

_____________________    _________________    ________________________

_____________________    _________________    ________________________

(7)Ensure  that  the  equipment  is  disconnected  form the energy source(s) by

first  checking  that  no  personnel  are exposed, then verify the isolation of the

equipment  by  operating  the  push button or other normal operating control(s)

or by testing to make certain the equipment will not operate.

CAUTION: Return the operating control(s) to “neutral” or “off”  position after

verifying the isolation of the machine or equipment.

SPECIFIC OR TYPE                                 METHOD OF VERIFYING

MACHINE/EQUIPMENT       _________ISOLATION OF EQUIPMENT___

______________________      ______________________________________

______________________      ______________________________________

______________________      ______________________________________

______________________      ______________________________________

______________________      ______________________________________

(8) The machine or equipment has now been locked out.

Restoring Equipment to Service

When servicing or  maintenance is  completed  and  the machine or equipment  is

ready  to  return to normal operating condition, the following steps must be taken.

- Check the machine or equipment and the immediate area around the machine

to  ensure  that  nonessential  items  have  been removed and that the machine or

equipment components are operationally intact.

- Check the work area to ensure that all employees have been safely positioned

or removed from the area.

- Verify that the controls are in neutral.

- Remove the lockout device(s) and re-energize the machine or equipment.

NOTE: The  removal of some forms of blocking may require re-energizing

the machine before safe removal.

- Notify affected employees that the servicing or maintenance is completed and

the machine or equipment is ready for use.

Procedure Involving More than One Person

In  the  preceding steps, if more than one individual is required to lock out or  tag

out  equipment,  each  must  place  his/her own personal lockout device or tagout

device on the energy isolating device(s). When an energy isolating device cannot

accept  multiple  locks  or tags, a multiple lockout or tagout device (hasp) may be

used.  If  lockout  is  used,  a  single  lock may be used to lock out the machine or

equipment  with  the  key  being  placed in a lockout box or cabinet which allows

the  use  of  multiple  locks to secure it. Each employee will then use his/her own

lock  to  secure  the  box  or  cabinet.  As each person no longer needs to maintain

his/her  own  lockout   protection,  that  person will  remove his/her lock from the

box or cabinet.

EMPLOYEES AUTHORIZED FOR GROUP LOCKOUT/TAGOUT

NAME                                        JOB TITLE

___________________              ______________________

___________________              ______________________

___________________              ______________________

___________________              ______________________